## NORDc_Facilities
Notes
Bathroom locked. Exercise equipment in good condition.
Fence in mostly good condition, could use updating in a few spots
Playground and sign have graffiti no water fountain, basketball courts need new paint
Tennis court has 2/3 nets
Two buildings: one restroom, other booster(?)
Volleyball net set up in field
Overall well kept park. Basketball and pool buildings were closed. Picnic area bathrooms could be cleaned. Trash was minimal but collected in the water. Could not drive through park because bridge was closed indefinitely due to structural problems. Soccer field needs new goal nets. Fencing along Dwyer needs replacing, fencing in park is good
Concession/Bathroom Building in good shape, basketball court needs lines repainted. Bleachers dented and broken in areas, fencing rusted and broken in spots, batting cages have several structural issues, dug outs have broken benches
New establishment, spoke to MOD who said they are not needing improvements. Pool closed but looked good through window
Pool closed, no bathrooms unless in pool house, old hornets logo, graffiti on playground sign
Structures new and in good condition, interior well maintained
Several picnic tables; four basketball goals; two small locked buildings
Basketball net needs replacing, backboard need to be cleaned. Restroom building locked, exterior needs new paint
Small all-purpose field attached to baseball field; showers at pool, not in locker room
No access- locked
Fence is poor and only on one side of park, excessive graffiti and litter, no restrooms or water fountain, boarded up concession area, lighting appears to be damaged, baseball cage in need of repairs, bleachers in poor location to baseball set up no park sign
Portolet needs to cleaned
No access inside field/stadium. Externally looks good. Fence is pulled up in a few areas
Park is in good condition, more than normal amount of litter and blow over trash bins
Baseball fence rusty and beat up in spots, padded ground blocks need to be finished being laid out on playground, no working water fountain, basketball needs new lines and nets, updated park sign would be nice, horse shoe pole bent and needs replacing
Hole in back fence, planter area under bridge full of trash, trash cans graffitied
Building and Benches dirty but in good condition. Went into recovery center and told them why I was there, woman said everything was fine and opened the door for me to leave
Three basketball goals: one net damaged, one missing; multi-purpose field is extension of baseball field; no access to restroom building
Two sets of large (3) bleachers; Lane 8 of track is flooded; no access to buildings
Water fountain does not work; no access to buildings
Three fields, four bleachers, playground flooring cracked and unsteady, basketball court flooded in corner and cosmetic issues
Four basketball goals; extensive trash throughout; soccer goals ripped; no access to buildings
Nine tennis courts
Four basketball goals, one net ripped; one water fountain; partial all-purpose field next to baseball field
Looked at sports field and adjacent play area. Swing on playground has S hook that is not clamped and chain can detach from swing. Mens bathroom sign needs replacing, fencing in batting cages needs replacing. Adjacent field has old rusty fence that should be removed.
Five basketball goals, three benches
Six basketball goals, one shower in each locker room, restroom and concessions are in rec center
Six baseball fields, two bleachers for each, outdoor gym equipment, two batting cages
No access
Broken benches and bleachers, basketball court has holes on ground and graffiti on backboards, access to batting cage is covered by trees, old playground is behind broken fence, low spot in field flooded
Basketball court needs everything, holes in playground padding, batting cages are in very poor condition
Baseball fences in poor condition, all but one dug put and bleacher areas broken and unuseable. Playground has some graffiti and broken equipment, broken backboard in indoor basketball court, parking area unpaved
Netting was tangled up inside batting cages
Basketball courts near Haynes have broken nets and excessive trash, parking lot near playground unpaved. Sidewalk stops and starts again near Haynes and congress
Bleachers dented, dug out benches need replacing, netting behind football goal has fallen down, trash at far end of field where there is no trash bin, parking area does not connect to street, bathroom/concession building does not have bathroom signs, fence needs replacing in a few spots
Area by pool has no playground. Playground a few blocks up has no nordc signage. Lights on Greenway not on play field. Some broken benches
Basketball benches and water fountain broken
Locked- no access inside fencing
Pool is under construction
Property has no amenities on it